Potential site identification in selected states & a brief note on Government (State/Centre) Policies for Grid connected Solar PV projects

Prepared for

Rattha Infrastructures (Pvt) Ltd., Chennai

Project Report No. 2010RT05

The Energy and Resources Institute

May 2010

Potential site identification in selected states & a brief note on Government (State/Centre) Policies for Grid connected Solar PV projects

Prepared for

Rattha Infrastructures (Pvt) Ltd., Chennai

Project Report No. 2010RT05

www.teriin.org 	The Energy and Resources Institute

©  The Energy and Resources Institute 2010

Suggested format for citation

T E R I.  2010

Potential site identification in selected states & brief note on Government (State/Centre) Policies for Grid connected Solar PV projects

New Delhi: The Energy and Resources Institute.

[Project Report No. 2010RT05]

For more information

Project Monitoring Cell

T E R I	Tel. 2468 2100 or 2468 2111

Darbari Seth Block	E-mail pmc@teri.res.in

IHC  Complex, Lodhi Road	Fax 2468 2144 or 2468 2145

New Delhi – 110 003	Web www.teriin.org

India	India +91 • Delhi (0) 11

Contents

Page no.

Executive summary	1

chapter 1 Solar radiation potential in India	3

chapter 2 Solar PV technologies	5

Solar PV system	5

chapter 3 Solar potential areas in selected states	7

chapter 4  Policy and regulatory status for solar power plant development in India	9

Central Government policies	9

Electricity Act 2003	9

Renewable Energy Policy	10

Generation Based Incentives	10

Solar Mission	11

CERC guidelines for determination of tariff for renewable energy systems	12

Appendix I: Monthly average daily values of climatic parameters	19

Appendix II:  State maps	21

List of tables

Table 3.1  Solar potential in selected state	7

Table 4.1  Levelised tariff for solar power plants	13

Table 4.2a  Solar policies in different states	15

Table 4.2b  Solar policies in different states	17

List of figure

Figure 1.1  Solar radiation map of India	3

Executive summary

With the announcement of Jawaharlal Nehru National Solar Mission, the Government of India has planned to add about 20,000MW of electricity generation capacity from solar energy by 2022. The mission envisages to ramp up capacity of grid connected solar power generation to 1000 MW with in three years- by 2013, an additional 3000 MW by 2017 through the mandatory use of renewable purchase obligation by utilities backed with preferential tariff. It has put a thrust in the solar energy sector and a lot of developers have shown the interest in solar plant development.

This report is prepared for M/s Rattha Infrastructure Pvt. Ltd. The company is keen to go to solar power generation using PV modules. They intended to do this on MW scale in few of the states. First chapter of the report deals with the solar energy potential in the country. The second chapter provides a brief of various solar PV technologies which are in existence for the MW scale solar power plant development. The third chapter focuses on districts in the selected states which are having very good solar energy potential.  An estimation of Global solar radiation on the horizontal surface is presented in this chapter for the selected districts.  Detailed monthly variations of climatic paremetrs are presented in the appendix section of the report. Chapter four talks about Solar mission, Electricity act 2003 and the CERC guidelines for tariff of solar PV plants. A comparison of central and states government polices for solar PV plants are presented in the same chapter which gives a bird eye view.